## Slide 1: Understanding the Concept of PV - DG Synchronization

## Slide 2
Diesel Prices in India increased to 1.24 USD/Liter in March 2021 from 1.21 USD/Liter in February of 2021. Source: Indian Oil Corporation Ltd.
Actual | Previous | Highest | Lowest | Dates | Unit | Frequency
1.24 | 1.21 | 1.34 | 0.48 | 1990 - 2021 | USD/Liter | Monthly

## Slide 3
Country | Last | Previous | Reference | Unit
Argentina | 0.88 | 0.83 | Mar-21 | USD/Liter
Australia | 1.04 | 1.03 | Mar-21 | USD/Liter
Brazil | 0.97 | 0.92 | Mar-21 | USD/Liter
Canada | 0.99 | 0.97 | Mar-21 | USD/Liter
China | 0.79 | 0.71 | Feb-21 | USD/Liter
France | 1.84 | 1.84 | Mar-21 | USD/Liter
Germany | 1.78 | 1.8 | Mar-21 | USD/Liter
India | 1.24 | 1.21 | Mar-21 | USD/Liter
Indonesia | 0.53 | 0.54 | Mar-21 | USD/Liter
Italy | 1.99 | 1.98 | Mar-21 | USD/Liter
Japan | 1.34 | 1.33 | Feb-21 | USD/Liter
Mexico | 0.98 | 0.95 | Mar-21 | USD/Liter
Netherlands | 2.12 | 2.13 | Mar-21 | USD/Liter
Russia | 0.64 | 0.65 | Mar-21 | USD/Liter
Saudi Arabia | 0.54 | 0.52 | Mar-21 | USD/Liter
Singapore | 1.73 | 1.73 | Mar-21 | USD/Liter
South Africa | 1.09 | 1.03 | Mar-21 | USD/Liter
South Korea | 1.35 | 1.31 | Mar-21 | USD/Liter
Spain | 1.62 | 1.59 | Mar-21 | USD/Liter
Switzerland | 1.76 | 1.73 | Feb-21 | USD/Liter
Turkey | 0.85 | 0.99 | Mar-21 | USD/Liter
United Kingdom | 1.73 | 1.71 | Mar-21 | USD/Liter
United States | 0.74 | 0.66 | Mar-21 | USD/Liter
G20 Countries Diesel Prices Per Litre

## Slide 4
Maintain DG Minimum Load Generation
Reduce Fuel Consumption & CO2 Emission
Reduce the DG Operating Cost
PV-DG Synchronisation

## Slide 5
Consider 100kVA/80kW DG Operating at 100% Load
DG Power = 80kW
Running Hour = 5hrs
Fuel Consumption 5hrs = 107 liters Approx.
PV shares 70% (56kW) of the Load as DG need to share 30% Load (24kW)
DG Power = 24kW
Running Hour = 5hrs
Fuel Consumption 5hrs = 45litres Approx.
Savings 62litres Fuel
Fuel Consumptions Savings Using DG Sync
Fuel Consumptions of DG

## Slide 6
Energy Meter
Energy Meter
RS-485 Comm.
RS-485 Comm.
Change
over
PV-DG Sync Block Diagram
PV Inverter
Diesel Generator
Grid
Loads
PV-DG Controller

## Slide 7
Example 1: DG Sync with Solar Plant with full load condition
Energy Meter
70kW
RS-485 Comm.
RS-485 Comm.
100kW
30kW
30% Concept
PV-DG Controller
PV Inverter
100kW
Loads
100kW
Diesel Generator – 100kW

## Slide 8
Example 2: DG Sync with Solar Plant during minimum load condition
Energy Meter
0kW
RS-485 Comm.
RS-485 Comm.
30kW
30kW
PV-DG Controller
PV Inverter
100kW
Loads
30kW
30% Concept
Diesel Generator – 100kW

## Slide 9
  178.2kWp Solar Rooftop Project
  EPC: Godrej & Boyce MFG. Co. Ltd, Vikrohli, Mumbai
  End Customer: Joultech indutrial Services, Kaman Road, Vasai, Mumbai
  DG Make : Koel Green
  DG Capacity: 100kVA
  400Vac Grid Multi-Function Energy Meter: Secure Elite 440-443
  Solar Multi-Function Energy Meter: Secure Elite 440-443
  Solar Grid Tie Inverters: 3 Nos. of RPI-M50A_12s model
  Requirement: DG Sync with Multiple Inverters
  Real Time Case

## Slide 10
Energy Meter
Energy Meter
RS-485 Comm.
RS-485 Comm.
Change
over
  178.2kWp Solar Rooftop Project with DG Sync
PV Inverter
Diesel Generator
Grid
Loads
PV-DG Controller

## Slide 11
Power Controlling Curve during DG operation with DG Sync

## Slide 12: Smarter. Greener. Together.
To learn more about Delta, please visit www.deltaww.com.