## Slide 1: Solar Projects Implementation United Nations Industrial Development Organisation
Dr. René VAN BERKEL
UNIDO Representative Regional Office in India
15 July 2020

## Slide 2: UNIDO in Brief
Specialized UN agency supporting developing country member states to industrialize
50+ years of technical cooperation in India, particularly in support of MSME development
Industrialization that works for markets, people, and environment and climate
Build resilient infrastructure, promote inclusive and sustainable industrialization and foster innovation
Inclusive and Sustainable Industrial Development
Advancing economic competitiveness
Safeguarding the environment
Creating shared prosperity

## Slide 3: RE Industry
Strategic orientations
  Locally available RE resources
  Appropriate RE technologies
  Include productive uses prosumers
  Community participation
  Leverage private sector resources
  Twin with energy efficiency

## Slide 6: PV-based Minigrid (Guinea Bissau)
PV-diesel hybrid minigrids
    Bissora 312 kWh
    Bambadinca 500 kWh
  Design, Procurement & Commissioning
  Regulatory Framework
  Business model
  Payment schemes
Part of GEF project developed and implemented with support of EEECREE

## Slide 7: Comparative Assessment of RE Mini Grids
Success factors
  Sufficient revenue generation to support the mini-grid
  Willingness and ability of consumers to pay tariff
  Community participation
  Regulatory and institutional capacity
  Local capacity building (particular for operations and maintenance)

## Slide 8: Solar Process Heating
Solar air heating for drying of finished leather in Kanpur
14% savings on specific coal use
Investment USD295,000
Payback 3.6 year
Concentrating Solar Thermal for pressurised hot water for silk reeling in Dehradun
Reduced > 1,000 tpa fuel wood Payback 4.5 yrs (subsidized)
Solar water heating for leather tanning in Kanpur
12% savings on specific coal use
Investment USD225,000
Payback 4.5 year

## Slide 9: CST for Industrial Applications
96 parabolic throughs with total 615 sqm
Produce steam at 17 kg/cm
Direct integration in steam system
16 parabolic dishes @95sqm
produce hot water for CIP system in dairy using compressor cooling water
120 kl hot water storage

## Slide 10: Market Potential for CST in India
The total consumption of fuel by industries was 1,267 TWh in 2013-14 (annual Survey of Industries)
1 Present Energy Input 100%
4 Process mapping 8.5%
2 Equivalent Energy Input from CSTs 89%
3 Energy Input during sunny hours 21.3%
5 Solar thermal potential 7.3%
6 Technical potential 4.4%
7 Market potential 2.2%
Market Potential (Total Energy Input x Market Multipliers) = 6.45 GWth
200 GWth
6.5 GWth
Market Multipliers
Only ~1% of market potential is currently realized

## Slide 11: Cleantech Innovation and Entrepreneurship
IDEA
Invention driven by new knowledge
PROTOTYPE
START UP
ENTERPRISE
Incubation driven by customer value
Acceleration driven by investor’ value
Growth driven by market demand
Product value
Business value

## Slide 12: Cleantech Innovation and Entrepreneurship
Advanced dehydration unit based on conduction, convection and radiation
Portable super efficient solar-powered submersible irrigation pumps for smallholder farmers (~1acre)
Solar powered, energy efficient ferry boat (PV, smart propulsion, advanced nautical design)

## Slide 13: Thank You www.unido.org
René VAN BERKEL
UNIDO Representative
Regional Office in India
r.vanberkel(a)unido.org